## Slide 1
Add shims until actuator bracket is not trapped between mounting plates

## Slide 2
Use 30mm pin plus shims/tape to help align ends of actuator mounting brackets
Check the actuator mounting bracket angles are identical using an engineer’s square
Pivot holes and end bracket holes should be positioned concentric for correct bracket angle

## Slide 3
Add shims (if required) between the pivot lateral guide plates such that the pivot arm is not being trapped

## Slide 4
Fit pivot arm assembly to instrument frame and actuator body to pivot arm with steel pins and shaft collars