## Slide 1
24V PSU
Motor direction
Motor drive
Interlock signal
Actuator power
Tacho signal
LED current control
I2C 5v
I2C 3.3v
GPIO 3.3v
SPI 3.3v
5v digital power
CSI Camera bus
USB
External load cell amplifier enclosure
Motor PWM
GPIO 5v
Load cell input A
Load cell input B
Spare analogue pro-micro input
Spare data bussses
Motor current
Digital power
5V analogue power
3.3v power from
Pi (on-board regulator)
Tacho power
Raspberry Pi 4
(GPIO brought out to pass-through connector: all pins used are via cuttable jumpers)
Arduino pro-micro (common 5v variant)
BSS138 based level shifter
DC-DC CV Module
Footprint for NAU7802
Footprint for HX711
Linear actuator
Linear scale
(currently via Pi Pico)
L298N Bridge driver
DC-DC CV Module
Fuse/
crowbar
DC-DC CV-CC Module
LED Light source
Fuse/
crowbar
DC-DC CV-CC Module
LED Light source
Estop/interlocks
Camera
5V Linear regulator
Fuse/
crowbar
Fuse/
crowbar
Hardware jog control
User interface and instrument control (monitor/
keyboard/
mouse)
Signal key
24v Input power
5v Digital power
3.3v Digital power
5v Analogue power
General signal
Data bus
Drive power path
Pi cooling fan
5v power to Pi